## Summary
Paracetamol in water: how much is good vs bad?
AquaTrace (KL Ocean Hackathon) · prepared 8 Oct 2026 · values in µg/L unless stated · 1 mg/L = 1,000 µg/L = 1,000,000 ng/L
KEY SETTING
PNEC used for risk (choose from the list) | Albarano 2025
PNEC value (µg/L) | 10 | PNEC = predicted no-effect concentration: below it, aquatic life should be safe.
Human drinking-water limit (µg/L) | 175 | Australian Guidelines for Water Recycling 2008 (human health, drinking water).
RISK BANDS (RQ = concentration ÷ PNEC; same rule as the AquaTrace website)
Band | RQ range | From (µg/L) | To (µg/L) | From (mg/L) | To (mg/L) | What it means
Low | RQ < 0.1 | 0 | 1 | 0 | 0.001 | Normal river water
Medium | 0.1 ≤ RQ < 1 | 1 | 10 | 0.001 | 0.01 | Sewage-impacted water: keep watching
High | RQ ≥ 1 | 10 | and above | 0.01 | and above | Risk to aquatic life: confirm by HPLC and find the source
ONE-LINE ANSWER
Good: below 1 µg/L · Warning: 1–10 µg/L · Bad: 10 µg/L or more (PNEC, Albarano 2025)
Paracetamol has never been measured in Penang (the 4 USM theses measured atenolol, carbamazepine, diclofenac and ketoprofen only). The team's CenFac HPLC results will be the first Penang data.
CONCENTRATION LADDER (µg/L, log scale in the chart)
Level | µg/L | Type
US rivers: median detection | 0.042 | Measured
Langat River (Malaysia): max | 0.3463 | Measured
US rivers: 99th percentile | 5.258 | Measured
PNEC (chosen above) | 10 | Threshold
Hospital WWTP influent max (Saudi) | 12.39 | Measured
NORMAN PNEC | 46 | Threshold
HC5: 5% of species affected | 50 | Threshold
Website screening level (current) | 150 | Website
Drinking-water limit (AGWR 2008) | 175 | Threshold
Municipal WWTP influent (India) | 4600 | Measured
Daphnia acute LC50 (48 h) | 16900 | Threshold
HOW TO USE THIS WORKBOOK
Blue text | An input you can change.
Yellow fill | The key setting (PNEC choice).
Black text | Calculated by a formula. Do not type over it.
Thresholds | Safe limits for aquatic life and drinking water, with sources.
Measured_Levels | Real measured concentrations (rivers, wastewater, hospital).
Risk_Calculator | Type any concentration and unit → µg/L, RQ and risk band.
Website_Check | Phi's website values for paracetamol vs the literature.
Lab_Design | CenFac standards: concentrations, which instrument, dilution volumes.
Results_Log | Record pH, conductivity, UV and HPLC results per standard.
Instrument_Limits | What UV-Vis and HPLC-UV can detect.
Sources | Every reference with its link.
Note on B5: Choose: Albarano 2025 (newest, 10 µg/L), NORMAN (46 µg/L) or Shipingana 2022 (12.9 µg/L). Every risk band in this workbook updates.

## Thresholds
Thresholds: how much paracetamol is too much?
Aquatic-life limits (PNEC, HC5) are much stricter than human drinking-water limits. Values differ because studies use different species, endpoints and safety factors.
# | Short name | Threshold | Value | Unit | Value (µg/L) | Protects | Basis | Source | Link
1 | Albarano 2025 | PNEC, aquatic life (newest) | 0.01 | mg/L | 10 | Aquatic life (long-term) | Species sensitivity distribution, 55 aquatic species (EC10), global occurrence data | Albarano et al. 2025, Journal of Hazardous Materials, doi 10.1016/j.jhazmat.2025.140107 | https://www.iris.unisa.it/handle/11386/4949119
2 | Albarano 2025 HC5 | HC5: concentration harming 5% of species | 0.05 | mg/L | 50 | Aquatic life | Same species sensitivity distribution | Albarano et al. 2025 | https://www.iris.unisa.it/handle/11386/4949119
3 | NORMAN | PNEC, lowest long-term freshwater | 46 | µg/L | 46 | Aquatic life (long-term) | NORMAN ecotoxicology database | Environmental Sciences Europe 2024, Table 4 (NORMAN PNECs) | https://enveurope.springeropen.com/articles/10.1186/s12302-024-01015-3/tables/4
4 | Shipingana 2022 | PNEC used in a WWTP risk study | 12.9 | µg/L | 12.9 | Aquatic life | Based on Daphnia magna sensitivity | Shipingana et al. 2022, Applied Water Science | https://link.springer.com/article/10.1007/s13201-022-01570-1
5 | Fan 2022 | Chronic HC5 (older estimate) | 1.21 | mg/L | 1210 | Aquatic life | Species sensitivity distribution, 9 chronic datasets (shows how much estimates vary) | Fan et al. 2022, PNECs for 35 PPCPs in freshwater | https://www.frontiersin.org/journals/marine-science/articles/10.3389/fmars.2022.1043792/pdf
6 | Kim 2006 | Acute LC50, Daphnia magna, 48 h | 16.9 | mg/L | 16900 | Acute lethality (short-term) | Half of the test animals die in 48 h | Kim 2006, Journal of Environmental Health Sciences (Korea) | https://www.koreascience.or.kr/article/JAKO200604623620474.page?lang=en
7 | AGWR 2008 | Drinking-water guideline | 175 | µg/L | 175 | Human health | Australian Guidelines for Water Recycling 2008 (augmentation of drinking water) | EPA Victoria 2023, Appendix A, Table 12 | https://app.production.epa-vic-gov-au.sdp3.sdp.vic.gov.au/sites/default/files/epa/publications/appendix_a_emerging-contaminants-in-recycled-water_31may2023.pdf
8 | Minnesota 2015 | Drinking-water guidance | 200 | µg/L | 200 | Human health | Health-based value, all exposure durations | Minnesota Department of Health, 2015 | https://www.health.mn.gov/communities/environment/risk/docs/guidance/dwec/sumacetamin.pdf
Why use 10 µg/L? It is the newest estimate (2025) and the most protective. Report 46 µg/L (NORMAN) as the alternative. Change the choice on the Summary sheet.

## Measured_Levels
Measured paracetamol levels: where does real water fall?
RQ and risk band use the PNEC chosen on the Summary sheet. Blank value = not detected or not measured.
# | Water type | Place | Statistic | Value | Unit | Value (µg/L) | RQ (vs chosen PNEC) | Risk band | Above drinking-water limit? | Source | Link | Note
1 | River | USA, 15,854 river site-days (detected in 6%) | Median of detections | 42 | ng/L | 0.042 | 0.0042 | Low | No | AquaTrace analysis of US Water Quality Portal data (wqp_paired_streams.csv) | https://www.waterqualitydata.us/ | Used as the "typical river" level
2 | River | USA | 90th percentile of detections | 298.9 | ng/L | 0.2989 | 0.02989 | Low | No | AquaTrace analysis of US Water Quality Portal data (wqp_paired_streams.csv) | https://www.waterqualitydata.us/
3 | River | USA | 99th percentile of detections | 5258 | ng/L | 5.258 | 0.5258 | Medium | No | AquaTrace analysis of US Water Quality Portal data (wqp_paired_streams.csv) | https://www.waterqualitydata.us/
4 | River | USA | Maximum | 76000 | ng/L | 76 | 7.6 | High | No | AquaTrace analysis of US Water Quality Portal data (wqp_paired_streams.csv) | https://www.waterqualitydata.us/ | Only 1 of 872 detections above 46 µg/L
5 | River | Langat River, Selangor, Malaysia | Maximum | 346.3 | ng/L | 0.3463 | 0.03463 | Low | No | Al-Odaini et al. 2013, Int. J. Environmental Analytical Chemistry | https://www.ingentaconnect.com/content/tandf/geac/2013/00000093/00000003/art00001 | Closest Malaysian river data
6 | River | Kyongahn River, Korea | Measured | 0.439 | µg/L | 0.439 | 0.0439 | Low | No | Kim 2006, J. Environmental Health Sciences | https://www.koreascience.or.kr/article/JAKO200604623620474.page?lang=en
7 | Hospital WWTP influent | Saudi Arabia (hospital treatment plants) | Maximum | 12.39 | µg/L | 12.39 | 1.239 | High | No | Al Qarni et al. 2016, Environmental Science and Pollution Research | https://link.springer.com/article/10.1007/s11356-016-6389-7
8 | Hospital WWTP effluent | Saudi Arabia | After treatment | [6 empty] | Al Qarni et al. 2016 | https://link.springer.com/article/10.1007/s11356-016-6389-7 | Negligible: more than 98% removed
9 | Municipal WWTP influent | Mysuru, India | Measured | 4.6 | mg/L | 4600 | 460 | High | Yes | Shipingana et al. 2022, Applied Water Science | https://link.springer.com/article/10.1007/s13201-022-01570-1
10 | Municipal WWTP effluent | Mysuru, India | After treatment | [6 empty] | Shipingana et al. 2022 | https://link.springer.com/article/10.1007/s13201-022-01570-1 | Not detected (about 100% removed)
11 | WWTP influents worldwide | 5 continents | Lower bound implied by RQ > 800 | 8000 | µg/L | 8000 | 800 | High | Yes | Albarano et al. 2025, J. Hazardous Materials | https://www.iris.unisa.it/handle/11386/4949119 | RQ > 800 with PNEC 10 µg/L means above 8,000 µg/L
12 | River / estuary | Penang | Not measured yet | [6 empty] | thesis-data-findings (USM theses) | https://repoemc.ukm.my/items/03278d67-ba15-49e1-8dd8-265793d35e3f/full | First data: our CenFac HPLC. (Link: Praveena 2018, Selangor, also did not measure paracetamol)

## Risk_Calculator
Risk calculator: type a concentration, get the risk
Fill in the blue columns (Sample, Concentration, Unit). Units: ng/L, µg/L, ug/L or mg/L. Black columns calculate automatically.
Using PNEC = 10 µg/L (Albarano 2025); drinking-water limit = 175 µg/L
Sample | Concentration | Unit | µg/L | mg/L | RQ | Risk band | vs drinking-water limit
Example: river sample | 120 | ng/L | 0.12 | 0.00012 | 0.012 | Low | Below
Example: CenFac standard S2 | 0.05 | mg/L | 50 | 0.05 | 5 | High | Below

## Website_Check
Phi's website: paracetamol (PCM) values vs the literature
Code: frontend/src/core.js, COMPOUNDS_DEFAULT (PCM entry) and the demo site profiles. Suggested values follow the PNEC chosen on the Summary sheet.
Website field | Current value | Current unit | Current (µg/L) | Suggested value | Suggested unit | Suggested (µg/L) | Check | Verdict | Why | Where in code
Screening level ("level") | 0.15 | mg/L | 150 | 0.01 | mg/L | 10 | 15× the chosen PNEC | ❌ Change | No source found. 150 µg/L is close to the human drinking-water limits (175–200 µg/L), not the aquatic-life PNEC. | core.js, PCM: level
PNEC ("pnec") | (empty) |  |  | 0.01 | mg/L | 10 | Not set | ⚠️ Fill in | Without a PNEC the website cannot calculate the risk quotient for paracetamol. | core.js, PCM: pnec
Background ("bg") | 0.012 | mg/L | 12 | 4.2e-05 | mg/L | 0.042 | 286× typical clean-river level; already at or above the PNEC | ❌ Change | Typical river level = US median detection (Measured_Levels row 1). | core.js, PCM: bg
Demo site SP1 (hospital drain) | 0.38 | mg/L | 380 | 0.38 | mg/L | 380 | 38× the chosen PNEC | ⚠️ Label as estimate | Only realistic for raw sewage or a hospital drain (hospital influent max 12.4 µg/L in Saudi Arabia; city influent 4,600 µg/L in India). | core.js, site profiles: prof.PCM
Demo site SP2 (Kampung Rawa) | 0.3 | mg/L | 300 | 0.3 | mg/L | 300 | 30× the chosen PNEC | ⚠️ Label as estimate | Unsewered settlement: plausible near the drain, high for the river itself. | core.js, site profiles: prof.PCM
Demo site SP3 (city drains) | 0.16 | mg/L | 160 | 0.16 | mg/L | 160 | 16× the chosen PNEC | ⚠️ Label as estimate | Same as above. | core.js, site profiles: prof.PCM
Demo site Jelutong STP | 0.03 | mg/L | 30 | 0.0001 | mg/L | 0.1 | 3× the chosen PNEC | ❌ Lower | Treatment removes more than 98% of paracetamol (Saudi and Indian studies), so treated effluent should be far lower than 30 µg/L. 0.1 µg/L is an illustrative placeholder. | core.js, site profiles: prof.PCM
Unit ("unit") | mg/L |  |  | µg/L |  |  | Other medicines use µg/L | ⚠️ Switch | One unit for all medicines avoids 1,000× mistakes. | core.js, PCM: unit

## Lab_Design
CenFac experiment: paracetamol standards and dilution plan
Change the blue inputs; volumes recalculate. Stock A is weighed; B and C are diluted from it so every pipette volume stays above your smallest accurate volume.
INPUTS
Stock A concentration (mg/L) | 1000
Stock A volume (mL) | 100
Paracetamol purity (analytical grade) | 99%
→ Paracetamol to weigh for Stock A (mg) | 101.0101
Stock B concentration (mg/L) | 10
Stock B volume (mL) | 100
→ Stock A needed for Stock B (mL) | 1
Stock C concentration (mg/L) | 0.1
Stock C volume (mL) | 100
→ Stock B needed for Stock C (mL) | 1
Final volume of each standard (mL) | 50
Smallest volume you can pipette accurately (mL) | 0.1
Replicates per standard | 3
Solvent | Ultrapure (Milli-Q) water
Standard | Target (mg/L) | Target (µg/L) | Measure with | What it represents | Stock to use | Stock conc. (mg/L) | Stock volume (mL) | Solvent to add (mL) | RQ (vs chosen PNEC) | Risk band | Check
S0 | 0 | 0 | All (blank) | Blank: solvent only, for baseline | none | 0 | 0 | 50 | 0 | Low | OK
S1 | 0.01 | 10 | HPLC | PNEC (Albarano 2025): the "bad" line for aquatic life | C | 0.1 | 5 | 45 | 1 | High | OK
S2 | 0.05 | 50 | HPLC | HC5: 5% of species affected | B | 10 | 0.25 | 49.75 | 5 | High | OK
S3 | 0.1 | 100 | HPLC | Between HC5 and the drinking-water limit (0.175 mg/L) | B | 10 | 0.5 | 49.5 | 10 | High | OK
S4 | 0.5 | 500 | HPLC | Raw sewage / hospital drain level | B | 10 | 2.5 | 47.5 | 50 | High | OK
S5 | 1 | 1000 | HPLC + UV-Vis | Overlap point 1 (UV-Vis near its LOQ, 0.98 mg/L) | B | 10 | 5 | 45 | 100 | High | OK
S6 | 2 | 2000 | UV-Vis | Start of UV-Vis linear range (2 mg/L) | A | 1000 | 0.1 | 49.9 | 200 | High | OK
S7 | 5 | 5000 | HPLC + UV-Vis | Overlap point 2 | A | 1000 | 0.25 | 49.75 | 500 | High | OK
S8 | 10 | 10000 | HPLC + UV-Vis | Overlap point 3; dilute 10× before HPLC if above its calibrated range | A | 1000 | 0.5 | 49.5 | 1000 | High | OK
S9 | 15 | 15000 | UV-Vis | UV-Vis calibration | A | 1000 | 0.75 | 49.25 | 1500 | High | OK
S10 | 20 | 20000 | UV-Vis | UV-Vis calibration | A | 1000 | 1 | 49 | 2000 | High | OK
S11 | 24 | 24000 | UV-Vis | End of UV-Vis linear range (24 mg/L) | A | 1000 | 1.2 | 48.8 | 2400 | High | OK
Totals
Standards | 12
Preparations incl. replicates | 36
HPLC vials needed (incl. replicates) | 24
UV-Vis measurements (incl. replicates) | 24
NOTES
1. Stock A: weigh the paracetamol (row 8), dissolve in the solvent in a volumetric flask and fill to the mark. Paracetamol dissolves easily in water (about 14 g/L at 25 °C, a textbook value: check the SDS).
2. Stock B = Stock A diluted (row 11 volume into row 10 flask). Stock C = Stock B diluted (row 14 into row 13). Then make each standard from the stock in column F.
3. Paracetamol is neutral at pH 7 (pKa about 9.5): in clean standards it barely changes pH or conductivity, so UV is the only sensor expected to respond. Record pH and conductivity anyway (Results_Log).
4. HPLC: Nguyen et al. (2023) validated 0.01–1 mg/L at 243 nm. Ask CenFac for their calibrated range and LOD; dilute standards above it before injection.
5. UV-Vis: Sharma et al. (2013) found a linear range of 2–24 mg/L at 246 nm (LOD 0.33 mg/L, LOQ 0.98 mg/L).
6. The overlap standards (S5, S7, S8) are measured by both instruments: they give the paired UV vs HPLC data for the ML step.
7. These are suggested levels: confirm the final range with your supervisor and CenFac before ordering.
Note on B7: Check the purity on the bottle or certificate of analysis. Use analytical-grade paracetamol (98% or more) for standards; Panadol tablets contain fillers and are only good for a practice run.
Note on B15: 50 mL so the pH and conductivity probes can be fully immersed, with enough left for a UV cuvette (about 3 mL) and an HPLC vial (at least 0.5 mL). Lower it if your probes need less.

## Results_Log
Results log: one row per measurement
Fill in the blue columns after each measurement. Target and recovery calculate automatically. Row 6 is an EXAMPLE with made-up values: delete it before use.
Date | Standard | Replicate | Target (mg/L) | pH | Conductivity (µS/cm) | Temperature (°C) | UV absorbance (243 nm) | HPLC result (mg/L) | HPLC recovery | Notes
2026-10-10 | S5 | 1 | 1 | 6.8 | 2.1 | 25 | 0.064 | 0.98 | 98% | EXAMPLE ROW (made-up values): delete before use

## Instrument_Limits
What can the instruments see?
LOD = lowest level detected; LOQ = lowest level measured reliably. Values are for the solution put into the instrument.
Instrument | Wavelength (nm) | Linear from (mg/L) | Linear to (mg/L) | LOD (mg/L) | LOQ (mg/L) | LOQ (µg/L) | Can it measure the PNEC? | Can it measure a typical river level? | Sample prep | Source | Link
UV-Vis spectrophotometer | 246 | 2 | 24 | 0.3275 | 0.9836 | 983.6 | No: LOQ is 98× the PNEC | No: needs 23419× concentration | None (bulk powder and tablets) | Sharma et al. 2013, Oriental Journal of Chemistry | https://www.orientjchem.org/?p=11983
HPLC-UV, C18 column | 243 | 0.01 | 1 | 0.003 | 0.01 | 10 | Yes | No: needs 238× concentration | Solid-phase extraction (SPE), recovery above 95% | Nguyen et al. 2023, Vietnam Journal of Science and Technology 61(4) | https://vjs.ac.vn/jst/article/view/16418
CenFac HPLC (ask CenFac and fill in) | [9 empty] | CenFac
SPE CONCENTRATION (for real river samples)
SPE concentration factor (e.g. 500 mL water → 1 mL extract = 500) | 500
HPLC-UV LOQ in the river water after SPE (µg/L) | 0.02
Can HPLC + SPE then measure a typical river level? | Yes
Take-away: UV-Vis only sees sewage or spill levels (mg/L). HPLC-UV reaches the PNEC directly, and typical river levels only after SPE.

## Sources
Sources
# | Reference | Used for | Link
1 | Albarano L., Maggio C., Lofrano G., Carotenuto M., Guida M., Vaiano V., Libralato G. (2025). Environmental risk assessment of paracetamol in aquatic ecosystems using species sensitivity distribution and global occurrence data. Journal of Hazardous Materials. doi 10.1016/j.jhazmat.2025.140107 | PNEC 10 µg/L, HC5 50 µg/L, influent RQ > 800 | https://www.iris.unisa.it/handle/11386/4949119
2 | Environmental Sciences Europe (2024). Is environmental risk assessment possible with the alternatives to acute fish toxicity test? Case study with pharmaceuticals. Table 4 (NORMAN PNECs). | NORMAN lowest long-term freshwater PNEC 46 µg/L | https://enveurope.springeropen.com/articles/10.1186/s12302-024-01015-3/tables/4
3 | Shipingana L.N.N., Shivaraju H.P., Yashas S.R. (2022). Quantitative assessment of pharmaceutical drugs in a municipal wastewater and overview of associated risks. Applied Water Science. | Mysuru influent 4.6 mg/L, PNEC 12.9 µg/L | https://link.springer.com/article/10.1007/s13201-022-01570-1
4 | Fan H. et al. (2022). Derivation of predicted no-effect concentrations for thirty-five pharmaceuticals and personal care products in freshwater ecosystem. | Chronic HC5 1.21 mg/L | https://www.frontiersin.org/journals/marine-science/articles/10.3389/fmars.2022.1043792/pdf
5 | Kim P.-G. (2006). Ecotoxicological risk assessment for acetaminophen in Kyongahn River. Journal of Environmental Health Sciences. | Daphnia LC50 16.9 mg/L; river 0.439 µg/L | https://www.koreascience.or.kr/article/JAKO200604623620474.page?lang=en
6 | EPA Victoria (2023). Appendix A: Emerging contaminants in recycled water, Table 12 (Australian Guidelines for Water Recycling 2008). | Drinking-water guideline 175 µg/L | https://app.production.epa-vic-gov-au.sdp3.sdp.vic.gov.au/sites/default/files/epa/publications/appendix_a_emerging-contaminants-in-recycled-water_31may2023.pdf
7 | Minnesota Department of Health (2015). Toxicological summary for acetaminophen. | Drinking-water guidance 200 µg/L | https://www.health.mn.gov/communities/environment/risk/docs/guidance/dwec/sumacetamin.pdf
8 | Al-Odaini N.A., Zakaria M.P., Yaziz M.I., Surif S., Abdulghani M. (2013). The occurrence of human pharmaceuticals in wastewater effluents and surface water of Langat River and its tributaries, Malaysia. Int. J. Environmental Analytical Chemistry. | Langat River max 346.3 ng/L | https://www.ingentaconnect.com/content/tandf/geac/2013/00000093/00000003/art00001
9 | Al Qarni H., Collier P., O'Keeffe J., Akunna J. (2016). Investigating the removal of some pharmaceutical compounds in hospital wastewater treatment plants operating in Saudi Arabia. Environmental Science and Pollution Research. | Hospital influent up to 12.4 µg/L; >98% removal | https://link.springer.com/article/10.1007/s11356-016-6389-7
10 | US Water Quality Portal (USGS, EPA). AquaTrace analysis of paired river data, 1999–2025 (wqp_paired_streams.csv). | US river distribution: median 42 ng/L, max 76 µg/L | https://www.waterqualitydata.us/
11 | Sharma S. et al. (2013). Development and validation of a UV spectroscopic method for analysis of paracetamol in bulk powder and tablet. Oriental Journal of Chemistry. | UV-Vis 246 nm, linear 2–24 mg/L, LOD 0.33 mg/L | https://www.orientjchem.org/?p=11983
12 | Nguyen T.D. et al. (2023). Simultaneous determination of paracetamol and diclofenac in wastewater by high-performance liquid chromatography method. Vietnam Journal of Science and Technology 61(4), 599–608. | HPLC-UV 243 nm, LOQ 0.01 mg/L, SPE | https://vjs.ac.vn/jst/article/view/16418
13 | Praveena S.M. et al. (2018). Pharmaceuticals residues in selected tropical surface water bodies from Selangor (Malaysia). Science of the Total Environment. | Shows paracetamol was not measured in Selangor | https://repoemc.ukm.my/items/03278d67-ba15-49e1-8dd8-265793d35e3f/full